LIST OF MATERIAL

4/05/04

- 5 MB1L

- 3 MB2L

- 2 MB3L

- 2 LV connector cases

- 10 TTC protection 26.60.00.00.16

- 10 link board support 26.60.00.00.25

- 10 link board support 26.60.00.00.26

- 70 TRB-32 heatscreen spacer (A) 26.60.00.00.07

- 20 theta minicrate covers 26.60.00.00.32

- 10 SB spacer L 26.60.00.00.13

- 10 SB spacer S 26.60.00.00.15

- 300 TRB heatscreen 26.60.00.00.06

- 64 TRB-32 heatscreen 26.61.00.00.06

- 1548 TRB heatscreen spacer (B) 26.60.00.00.31

- 1548 TRB heatscreen spacer (A) 26.60.00.00.07

- 2 CCB link MB3 cables

- 8 CCB link MB2 and MB1 cables

- 16 RPC/alignment MB1 and MB2 cables

- 4 RPC/alignment MB3 cables

10/06/04

111 TRB cables (ver material MC.xls)

| L1-4 | 21 |
| --- | --- |
| L2-3 | 23 |
| L3-2 | 18 |
| L4-1 | 3 |
| R1-5 | 21 |
| TR1.5-1 | 8 |
| TR2.5-2 | 5 |
| TR2-1 | 6 |
| TR3-2 | 6 |
|  | 111 |

1 MB3 TRB cable

conectores para reparar los cables de reloj ROB y de rolink.

15/06/04

69 TRB-32 heatscreen spacer (B) 26.61.00.00.31

LIST OF MATERIAL 1/09/04

Mechanical Pieces:

| Minicrates # | Qty | Piece | Ref number |
| --- | --- | --- | --- |
| 16 | 16 | TTC protection | 26.60.00.00.16 |
|  | 16 | link board support | 26.60.00.00.25 |
|  | 16 | link board support | 26.60.00.00.26 |
|  | 16 | SB spacer L | 26.60.00.00.13 |
|  | 16 | SB spacer S | 26.60.00.00.15 |
|  | 348 | TRB heatscreen | 26.60.00.00.06 |
|  | 5 | Tapa Minicrate (phi) | 26.60.00.00.08 |

Codebar labels for MC´s:

- MB1L S- del 6 al 10

- MB2L S+ del 4 al 6

- MB3L S0 del 3 al 6

- MB4L S+ del 1 al 3

- MB4L S- del 1 al 3

- MB4 8/12 L S+ del 1 al 3

- MB4 8/12 L S- del 1 al 3

- MB4 9/11 L S0 del 1

Minicrates (16):

- 5 minicrates MB1L

- 3 minicrates MB2L

- 4 minicrates MB3L

- 3 minicrates MB4L

- 1 minicrate MB4 9/11 L

Cables:

- 16 CCB link cables

- 16 RPC cables

| TRB Cable | Quantity |
| --- | --- |
| L1-2 | 2 |
| L1-3 | 6 |
| L1-4 | 27 |
| L2-2 | 6 |
| L2-3 | 25 |
| L3-1 | 6 |
| L3-2 | 30 |
| L4-1 | 9 |
| R1--3 | 2 |
| R1-4 | 6 |
| R1-5 | 27 |
| R2-4 | 2 |
| R2-5 | 6 |
| R3-6 | 6 |
| TR1.5-1 | 5 |
| TR2.5-2 | 5 |
| TR2-1 | 8 |
| TR3-2 | 8 |

LIST OF MATERIAL October 04

Mechanical Pieces:

| Minicrates # | Qty | Piece | Ref number |
| --- | --- | --- | --- |
| 13 | 13 | TTC protection | 26.60.00.00.16 |
|  | 13 | link board support 1 | 26.60.00.00.25 |
|  | 13 | link board support 2 | 26.60.00.00.26 |
|  | 13 | SB spacer L | 26.60.00.00.13 |
|  | 13 | SB spacer S | 26.60.00.00.15 |
|  | 300 | TRB heatscreen | 26.60.00.00.06 |

Minicrates (13):

- 8 minicrates MB1L

- 2 minicrates MB2L

- 1 minicrates MB3L

- 2 minicrates MB4L (4)

Cables:

- 13 CCB link cables

- 13 RPC and Alignment cables

Codebar labels for MC´s:

- MB1-L/S- from 1 to 29, three of each. (Some you already have them).

- MB2-L/S+ from 1 to 29, three of each. (Some you already have them).

- MB3-L/S0 from 1 to 58, three of each. (Some you already have them).

- MB4 (4)-L/S0 from 1 to 4.

LIST OF MATERIAL November 04 (To Bologna)

Mechanical Pieces:

| Minicrates # | Qty | Piece | Ref number |
| --- | --- | --- | --- |
| 14 | 14 | TTC protection | 26.60.00.00.16 |
|  | 14 | link board support 1 | 26.60.00.00.25 |
|  | 14 | link board support 2 | 26.60.00.00.26 |
|  | 14 | SB spacer L | 26.60.00.00.13 |
|  | 14 | SB spacer S | 26.60.00.00.15 |
|  | 300 | TRB heatscreen | 26.60.00.00.06 |

Minicrates (14):

- 6 minicrates MB1L (RO codes: 16, 20, 21, 22, 23, 24)

- 2 minicrates MB2L (RO codes: 9,10)

- 4 minicrates MB3L (RO codes:8, 9, 10, 11)

- 2 minicrates MB4L (9/11) (RO codes: 2, 4)

Cables:

- 14 CCB link cables

- 14 RPC and Alignment cables

- TRB cables for the corresponding minicrates:

| Type | Length (mm) | Qty |
| --- | --- | --- |
| L1-2 | 244 | 4 |
| L1-3 | 274 | 0 |
| L1-4 | 239 | 24 |
| L2-1 | 465 | 0 |
| L2-2 | 505 | 0 |
| L2-3 | 525 | 24 |
| L3-1 | 716 | 0 |
| L3-2 | 746 | 24 |
| L4-1 | 967 | 8 |
| R1--3 | 324 | 4 |
| R1-4 | 405 | 0 |
| R1-5 | 375 | 24 |
| R2-4 | 656 | 4 |
| R2-5 | 626 | 0 |
| R3-5 | 877 | 0 |
| R3-6 | 847 | 0 |
| TR1.5-1 | 393 | 6 |
| TR2.5-2 | 614 | 6 |
| TR2-1 | 489 | 6 |
| TR3-2 | 710 | 6 |

### CCB Boards

- CCB(#15) + SB(#78)+CCB link assembled on MB1L(#22) with the corresponding mechanics and cables.

- CCB (#18) + SB(#23)+CCB link. It couldn´t be used because there is one connector twisted on SB.

- 1 ROS board (#9) + 1 patch pannel for FTP cables.

7/12/04

Le mando un cable TRB R1-3 por correo.

LIST OF MATERIAL February 05 (To Padova)

- 17 boxes of 3M adhesive (204 u.)

Minicrates (12):

- 4 minicrates MB1L (RO codes: 25, 26, 27, 28)

- 3 minicrates MB2L (RO codes: 11, 12, 13)

- 3 minicrates MB3L (RO codes:12, 14, 19)

- 2 minicrates MB4L (10) (RO codes: 1, 2)

Codebar labels for MC´s:

- MB1-R/S+ from 1 to 29, three of each.

- MB2-R/S- from 1 to 29, three of each.

- MB1-L Ch/S-, three of each.

- MB1-R Ch/S+, three of each.

- MB2-L Ch/S+, three of each.

- MB2-R Ch/S-, three of each.

- MB3-L Ch/S0, from 1 to 2, three of each.

- MB4(s)-L/S- from 1 to 8, three of each.

- MB4(s)-L/S+ from 1 to 8, three of each.

- MB4(s)-R/S- from 1 to 6, three of each.

- MB4(s)-R/S+ from 1 to 7, three of each.

- MB4(s)-R Ch/S-, three of each.

- MB4 (4)-R/S0 from 1 to 4 three of each.

- MB4 (4)-R Ch/S0 from 1 to 2, three of each.

- MB4 (8-12)-L/S- from 1 to 2, three of each.

- MB4 (8-12)-L/S+ from 1 to 2, three of each.

- MB4 (8-12)-R/S- from 1 to 3, three of each.

- MB4 (8-12)-R/S+ from 1 to 3, three of each.

- MB4 (9-11)-L/S0 from 1 to 5, three of each.

- MB4 (9-11)-R/S0 from 1 to 5, three of each.

- MB4 (10)-L/S- from 1 to 3, three of each.

- MB4 (10)-L/S+ from 1 to 3, three of each.

- MB4 (10)-R/S- from 1 to 2, three of each.

- MB4 (10)-R/S+ from 1 to 2, three of each.

## Mechanical pieces

| Qty | Piece | Ref number |
| --- | --- | --- |
| 216 | TTC protection | 26.60.00.00.16 |
| 21 | MC support L | 26.60.00.01.30-C |
| 21 | MC support R | 26.60.00.02.30-C |
| 80 | straight fittings Swagelok |  |
| 300 | TRB heatscreen | 26.60.00.00.06 |

Cables:

| Type | Length (mm) | Qty |
| --- | --- | --- |
| L1-2 | 244 |  |
| L1-3 | 274 | 4 |
| L1-4 | 239 | 20 |
| L2-1 | 465 |  |
| L2-2 | 505 | 20 |
| L2-3 | 525 | 30 |
| L3-1 | 716 |  |
| L3-2 | 746 | 36 |
| L4-1 | 967 | 19 |
| R1--3 | 324 |  |
| R1-4 | 405 | 20 |
| R1-5 | 375 | 30 |
| R2-4 | 656 |  |
| R2-5 | 626 | 20 |
| R3-5 | 877 |  |
| R3-6 | 847 |  |
| TR1.5-1 | 393 | 48 |
| TR2.5-2 | 614 | 45 |
| TR2-1 | 489 | 130 |
| TR3-2 | 710 | 113 |

Others:

- 1 cable ROLINK for MB4(9/11)L

- 1 cable TR 2.5-2

- 1 cable TR3-2

- 1 cable MB3 RPC/alignment

- ~60 labels A for alignment

- ~60 labels R for RPC

- ~60 labels 1 for ROBlink cover

- ~60 labels 2 for ROBlink cover

- 3 LV Patch Pannel boxes

21/02/05

- 24 MB1 MC support L by post mail.

LIST OF MATERIAL March 4th, 2005 (To Legnaro)

- 3M adhesive (200 u.)

Minicrates (14):

- 2 minicrates MB1L (RO codes: 29, 30)

- 1 minicrate MB1L Chimney (RO code 1)

- 4 minicrates MB2L (RO codes: 14, 15, 16, 17)

- 1 minicrate MB2L Chimney (RO code 1)

- 6 minicrates MB3L (RO codes:13, 15, 16, 17, 18, 20)

Cables:

| Type | Length (mm) | Qty |
| --- | --- | --- |
| L1-2 | 244 |  |
| L1-3 | 274 |  |
| L1-4 | 239 | 28 |
| L2-1 | 465 |  |
| L2-2 | 505 |  |
| L2-3 | 525 | 28 |
| L3-1 | 716 |  |
| L3-2 | 746 | 28 |
| L4-1 | 967 | 12 |
| R1--3 | 324 |  |
| R1-4 | 405 |  |
| R1-5 | 375 | 28 |
| R2-4 | 656 |  |
| R2-5 | 626 |  |
| R3-5 | 877 |  |
| R3-6 | 847 |  |

They are not enough for the amount of minicrates I am sending ( you should  be missing 10 L3-2 and 7 L4-1, but you should have 16 and 13 spares respectively from previous delivery.

### Others

- 1 LV Patch Pannel box

- 3 CCB´s – SB with problems:

A:	CCB-SN-020-270707  with DT_SB_3 0029 Batch 174 (Label 71)

It doesn´t answer to the CCB link commands.

B:	CCB-SN-018-270704  with SB label 23.

Wrong delay between Jtag clock vs. ROB clock.

C:	Previous version of CCB/SB.		It doesn´t answer to the CCB link commands.

LIST OF MATERIAL April 21st, 2005 (To Legnaro)

- 3M adhesive (28 boxes of 12 = 336 u.) (For ENRICO BORSATO)

- 2 boxes with 4700u. wire endplugs (For PAOLO CHECCHIA)

- 1 box with 1300u. I beam endplugs and gas stoppers. (For PAOLO CHECCHIA)

- 1 box with 9000 u. wire endplugs slids. (For PAOLO CHECCHIA)

Minicrates (25):

- 8 minicrates MB2L (RO codes: 18, 19, 20, 21, 22, 24, 25, 26) (23 missing)

- 8 minicrates MB3L (RO codes 21 to 28)

- 1 minicrate MB3L Chimney (RO code: 1)

- 4 minicrates MB4(s)R (RO codes 1 to 4)

- 2 minicrates MB4(8,12)L (RO codes: 1, 2)

- 2 minicrates MB4(9,11)R (RO cpdes: 1, 2)

Cables:

| Type | Length (mm) | Qty |
| --- | --- | --- |
| L1-2 | 244 | 8 |
| L1-3 | 274 | 20 |
| L1-4 | 239 | 62 |
| L2-1 | 465 | 4 |
| L2-2 | 505 | 20 |
| L2-3 | 525 | 30 |
| L3-1 | 716 | 16 |
| L3-2 | 746 | 36 |
| L4-1 | 967 | 16 |
| R1--3 | 324 | 8 |
| R1-4 | 405 | 29 |
| R1-5 | 375 | 26 |
| R2-4 | 656 | 8 |
| R2-5 | 626 | 20 |
| R3-5 | 877 | 4 |
| R3-6 | 847 | 16 |

LIST OF MATERIAL May, 2005 (To Legnaro)

Minicrates (20):

- 1 minicrate MB2L (RO code: 23)

- 4 minicrates MB3L (RO codes: 29, 30, 31, 32)

- 2 minicrates MB4(4)R (RO codes: 1, 2)

- 2 minicrates MB4(10)R (RO codes: 1, 2)

- 5 minicrates MB4(s)L (RO codes: 4, 5, 6 ,7, 8)

- 2 minicrates MB4(s)R (RO codes: 5, 6)

- 4 minicrates MB(8,12)R (RO codes: 1, 2, 3, 4)

Cables (for 19 MCs, missing for MB4(s)R):

| Type | Lenght | Qty |
| --- | --- | --- |
| L1-2 | 244 | 4 |
| L1-3 | 274 | 24 |
| L1-4 | 239 | 10 |
| L2-1 | 465 | 4 |
| L2-2 | 505 | 24 |
| L2-3 | 525 | 10 |
| L3-1 | 716 | 20 |
| L3-2 | 746 | 10 |
| L4-1 | 967 | 8 |
| R1--3 | 324 | 4 |
| R1-4 | 405 | 24 |
| R1-5 | 375 | 10 |
| R2-4 | 656 | 4 |
| R2-5 | 626 | 24 |
| R3-5 | 877 | 4 |
| R3-6 | 847 | 20 |

Codebar labels for MC´s:

- MB4(10)-L/S+ from 1 to 2, three of each.

- MB4(10)-L/S- from 1 to 2, three of each.

- MB4(s)-R/S- serial number 7, three of each.

- MB4(s)-R/S0 serial numbers 5 and 6, three of each.

LIST OF MATERIAL June, 2005 (To Legnaro)

Minicrates (17):

- 3 minicrate MB1L (RO code: 2, 3, 4)

- 2 minicrates MB2L (RO codes: 27, 29)

- 3 minicrates MB2R (RO codes: 1, 2, 3)

- 3 minicrates MB3L (RO codes: 33, 34, 35)

- 1 minicrates MB4(9-11)R (RO code: 3)

- 3 minicrates MB4(s)L (RO codes: 9, 10, 11)

- 2 minicrates MB4(10)L (RO codes: 3, 4)

Cables (for 20 MCs, including the previously missing for MB4(s)R):

| Type | Lenght | Qty |
| --- | --- | --- |
| L1-2 | 244 | 2 |
| L1-3 | 274 | 12 |
| L1-4 | 239 | 24 |
| L2-1 | 465 | 0 |
| L2-2 | 505 | 12 |
| L2-3 | 525 | 24 |
| L3-1 | 716 | 8 |
| L3-2 | 746 | 24 |
| L4-1 | 967 | 6 |
| R1--3 | 324 | 2 |
| R1-4 | 405 | 12 |
| R1-5 | 375 | 24 |
| R2-4 | 656 | 2 |
| R2-5 | 626 | 12 |
| R3-5 | 877 | 0 |
| R3-6 | 847 | 8 |

LIST OF MATERIAL July, 2005 (To Legnaro)

Minicrates (18):

- 5 minicrate MB1R (RO codes: 5, 6, 7, 8, 9)

- 5 minicrates MB2R (RO codes: 4, 5, 6, 7, 8)

- 2 minicrates MB4(s)R (RO codes: 7, 8)

- 2 minicrates MB4(4)R (RO codes: 3, 4)

- 2 minicrates MB4(10)L (RO codes: 5, 6)

- 2 minicrates MB4(9-11)R (RO codes: 4, 5)

Cables:

| Type | Lenght (mm) | Quantity |
| --- | --- | --- |
| L1-2 | 244 | 8 |
| L1-3 | 274 | 12 |
| L1-4 | 239 | 20 |
| L2-1 | 465 | 4 |
| L2-2 | 505 | 12 |
| L2-3 | 525 | 20 |
| L3-1 | 716 | 8 |
| L3-2 | 746 | 20 |
| L4-1 | 967 | 0 |
| R1--3 | 324 | 8 |
| R1-4 | 405 | 12 |
| R1-5 | 375 | 20 |
| R2-4 | 656 | 8 |
| R2-5 | 626 | 12 |
| R3-5 | 877 | 4 |
| R3-6 | 847 | 8 |

### Others

- 2 boxes of Murata Capacitors for High Voltage boards for Enrico Borsato.

- 1 box with 50 HV connectors (male plastic pieces) and 9000 AMPs for High Voltage boards for Enrico Borsato.

- 1 box

LIST OF MATERIAL September, 2005 (To Legnaro)

Minicrates (18):

- 6 minicrates MB1R (RO code: 10, 11, 12, 13, 14, 15)

- 1 minicrate MB1R Ch (RO code: 1)

- 4 minicrates MB2R (RO code: 9, 10, 11, 12)

- 5 minicrates MB3L (RO codes: 36, 37, 38, 39, 41)

- 2 minicrates MB4(10)R (RO codes: 3, 4)

Cables:

| Type | Length(mm) | Quantity |
| --- | --- | --- |
| L1-2 | 244 | 16 |
| L1-3 | 274 | 36 |
| L1-4 | 239 | 145 |
| L2-1 | 465 | 20 |
| L2-2 | 505 | 22 |
| L2-3 | 525 | 165 |
| L3-1 | 716 | 34 |
| L3-2 | 746 | 155 |
| L4-1 | 967 | 50 |
| R1--3 | 324 | 15 |
| R1-4 | 405 | 12 |
| R1-5 | 375 | 169 |
| R2-4 | 656 | 16 |
| R2-5 | 626 | 21 |
| R3-5 | 877 | 10 |
| R3-6 | 847 | 35 |
|  | TOTAL | 921 |

### Others

- Front-end profiles for Matteo Peggoraro.

LIST OF MATERIAL November, 2005 (To Legnaro)

Minicrates (17):

- 4 minicrates MB1R (RO code: 16, 17, 18, 19)

- 1 minicrate MB2L (RO code: 28)

- 5 minicrates MB2R (RO code: 13, 14, 15, 16, 17)

- 1 minicrate MB2R Ch (RO code: 1)

- 3 minicrates MB3L (RO codes: 40, 42, 43)

- 1 minicrate MB3R Ch (RO code: 2)

- 2 minicrates MB4(8, 12)L (RO codes: 3, 4)

Cables:

- 6 Threshold cables fro MB4(s)-MB4(8,12).

- 4 DCS CCB cables.

### Others

- Front-end profiles for Matteo Peggoraro.

LIST OF MATERIAL December, 2005 (To Legnaro)

Minicrates (17):

- 4 minicrates MB1R (RO code: 20, 21, 22, 23)

- 5 minicrates MB3L (RO codes: 44, 45, 46, 47, 48)

- 2 minicrates MB4(4)L (RO codes: 3, 4)

- 2 minicrates MB4(s)L (RO codes: 12, 13)

- 2 minicrates MB4(s)R (RO codes: 9, 10)

- 2 minicrates MB4(8, 12)R (RO codes: 5, 6)

### Others

- CCB board code CCB-SN-281-021204 with a wrong pin at connector J44.

Carlos takes to the CMS week:

- ROS-8 number 3.

- DT_SB_3 Sr. 0021 Batch 414 Test ok B1_S8. It does not finish the script mctest, restarts once and again.

- Server Board Number 5. old version.

- Server Board Sr. 3 Batch 053. old version

LIST OF MATERIAL January, 2006 (To Legnaro)

Minicrates (17):

- 7 minicrates MB2R (RO codes: 18, 19, 20, 21, 22, 23, 24)

- 5 minicrates MB3L (RO codes: 49, 50, 51, 52, 53)

- 1 minicrates MB4(s)L (RO codes: 14)

- 2 minicrates MB4(s)R (RO codes: 11, 12)

- 2 minicrates MB4(4)R (RO codes: 5, 6)

LIST OF MATERIAL February, 2006 (To Legnaro)

Minicrates (17):

- 7 minicrates MB1R (RO codes: 24, 25, 26, 27, 28, 29, 30)

- 3 minicrates MB2R (RO codes: 25, 26, 27)

- 5 minicrates MB3L (RO codes: 54, 55, 56, 57, 58)

- 2 minicrates MB4(9,11)L (RO codes: 3, 5)

### Others

CCB boards with problems:

- CCB-SN-135-021204 no ROB clock.

- CCB-SN-149-021204 CCB link does not work

- CCB-SN-260-021204 QPLL no stable lock

- CCB-SN-278-021204 Any TTC broadcast command sends an event reset.

- CCB-SN-070-021204 DS2438 (I, V, T) sensor reading does not work

- CCB-SN-203-021204 ROBUS signals all wrong

- CCB-SN-208-021204 ROB address bit 0 always to 1.

- CCB-SN-129-021204 Hangs up during mctest script

- CCB-SN-113-021204 J42 wrongly assembled (ROB clock connector)

- CCB-SN-114-021204 J41 wrongly assembled (TRB clock connector).

- CCB-SN-172-021204 Strange behaviour during ROB power up and configuration¿?

3 boxes for Enrico Borsato:

- 228 contrabases (High voltage connectors)

- 234 covers (High voltage connectors)

- 258 bases (High voltage connectors)

LIST OF MATERIAL April, 2006 (To Legnaro)

Minicrates (17):

- 3 minicrates MB2R (RO codes: 28, 29, 30)

- 2 minicrates MB3L (RO codes: 59, 60)

- 1 minicrates MB4(9,11)L (RO codes: 6)

- 1 minicrates MB4(9,11)R (RO codes: 6)

- 1 minicrates MB4(4)L (RO codes: 5)

- 1 minicrates MB4(4)R (RO codes: 7)

- 2 minicrates MB4(s)L (RO codes: 15, 16)

- 4 minicrates MB4(s)R (RO codes: 13, 14, 15, 16)

- 1 minicrates MB4(8,12)L (RO codes: 5)

- 1 minicrates MB4(8,12)R (RO codes: 7)

### Others

- 1 Sector Collector crate 9U.

- Slow Control and threshold spare cables (~14+5).

- 30 CCB filter boards spares.

- 8 boards CCB-link spares.

- Spare nuts.

- 2 Server Boards. (#20 with wrong jtag vs clk delay)

- 3 CCB boards:

- CCB-SN-135-021204

- CCB-SN-185-021204

- CCB-SN-301-021204 problem with the CCB link

- 1 box for Enrico Borsato from Marcos Cerrada.